## Object
step description | Metadata field/term | Case study / data set
Description of the object | Identity of the objet <identification number> The object identifier is typically composed of alphanumeric sequence assigned to an object in order to identify it uniquely and permanently within the context of one or more organisations. Such codes are often known as inventory numbers, registration codes, etc. <Value> The value of the code number is documented in this field. (Additional metadata fields for the code may be included as <Code>; <Category>; <Atributedby>; <AttributionDate>)
<ObjectIdentidier>
| <ObjectTitle>: the main title of the Object - the principal denomination with which the art work/ monument is currently known <ObjectShortTitle> | /
| <ShortDescription> A text describing in brief the object or <ObjectDescription> : a detailed description of the Object | /
| <ObjectDimensions> contains information about the physical dimensions of the object <DimensionType> Contains the type of the dimension (eg. depth, height etc.) <Unit> Contains the counting unit of the dimension (eg. cm, pixels, etc.), <Value> Contains the value of the dimension | /
| <DigitalFile>: A characteristic image of the Object is required - but additional files can also be submitted <DigitalFileFormat>; <Dimensions>; <Storage Location> Contains the storage location of the <digitalfile> This can be a supplied file or a live URL <Note> : any comment about the image of the Object | /
Location of storage of the object | <CurrentLocation> Contains information about the current location of the object - PID - linked to details entered separatly | /
Owner of the object / Scholar - keeper: Information about the owner or the keeper or scholar owing permission for analysis. | <CurrentOwner> Contains information about the current owner of the object, including details of Institutions or People - PID - linked to details entered separatly <PersonInvolved> contains the link to the individual current owner or the keeper or scholar owing permission for analysis of the object | /
Information about the creation of the object: Date/period: that the artwork/monument was created/constructed including information about the creator. | <CreationInformation> contains information about the creation of the object <Creator> contains information about the creator of the object <Creation date> contains the creation date or period of the object | /
Type of object: Information about the type of the object such us polychromy on sculpture, panel painting etc. | <ObjectCategory>: the type or category of the Object | paint mock-up
Type of material(s) for examination: Type(s) of materials for examination. e.g. substrate, coatings, pigments or other materials related to surface finishingdecoration | <MaterialCategory> contains information about the type of materials under investigation | chrome yellow (PbCr0.2S0.8O4) mixed with linseed oil (pigment:binder weight ratio=4:1) on polycarbonate support

## Method - Technique
step description | Metadata field/term | Case study / data set
Identity | <TechniqueIdentifier>
| <TechniqueAppelation> <TehniqueAcronym> (optional) <TechniqueDefinition>: contains basic information about the method / link to Glossary <TechniqueShortDescription> <GossaryID> link to a Glossary Entity describing the Technique | X-ray fluorescence spectroscopy Probably here we can add one or more literature references.
<TechniqueCategory> (controled list connected to the IPERIONHS Catalogue of Services)
Scope and general description of the technique | <TechniqueGeneralScope>: the purpose for wich the Tehnique is generally used | X-ray fluorescence spectroscopy is a well-established method for the in situ investigation of archaeological objects and artworks through the characterization of the chemical (elemental) composition of materials. The fact that the method is essentially non-destructive makes it particularly attractive and widely used by heritage scientists, art historians, archaeologists, curators and conservators. The benefits of XRF include fast analysis, applicability to any type of object or composite material of various shapes and dimensions, suitability for the detection of major to trace elements and semi quantitative capabilities.
| <TechniqueSpecificScope> the purpose for which the technique is used in the specific project <LinkToProject> information about the project in which the object is investigated (Additional metadata fields for the code may be included as: <Project Type>: the type of the Project <Project Goal> : the goal of the project | / | Shackley M.S. (2011) An Introduction to X-Ray Fluorescence (XRF) Analysis in Archaeology. In: Shackley M. (eds) X-Ray Fluorescence Spectrometry (XRF) in Geoarchaeology. Springer, New York, NY. DOI: 10.1007/978-1-4419-6886-9_2
| <MeasurableEntity> material or property for which the technique gives information | The method provides XRF spectra for the elemental analysis and identification of inorganic compounds. | Janssens, K., Van der Snickt, G., Vanmeert, F. et al. Non-Invasive and Non-Destructive Examination of Artistic Pigments, Paints, and Paintings by Means of X-Ray Methods. Top Curr Chem (Z) 374, 81 (2016). DOI: 10.1007/s41061-016-0079-2
| <MeasurementScale> Macro / Micro / Remote, the range of distance the technique is applied | Macro
| <Working distance>: distance between objective lens and sample given in microns or mm. <Spot size>: laser spot diameter (nm) as determined by laser wavelength and microscope objective. | in touch of the probe with the surface
| <MaterialCategoryApplication> the main types or categories of materials for which the Technique can provide with information (a controlled list) | metals, minerals, soils, glass, stone, any solid surface
<AplicationMode> A list of application modes of the Technique, depending on the object geometry or condition - ideally a controlled list connected to defined vocabulary terms.
Methodology | <TechniqueMethodology> is described by a methodology / workflow of the technique application (e.g. reference to a scheme or standard)
General Conditions | <TechniqueSafetyConditions> Information about safety conditions requirements for the application of the method (e.g. X-Rays safety rules) | Bearing in mind the high penetrating power of X-Rays, ->Choose carefully the support/check also the back of the artwork to avoid interferences. ->Determine and mark carefully the security restricted area and define the set-up geometry (X-ray beam direction) for safety of the operators and public.
<TechniqueApplicationConditions> or <TechniqueSetupConditions> information about the environmental and operational conditions requirements for the application of the method. <Note> Any infomation about the environmental or operational conditions requirements for the application of the method (e.g. Dark to avoid stray light interference)
The equipment specifications of the instrument and the overall appartus are documented such as type of equipment, manufacturing company, light source type, optical system (camera) /objective lens or optical fiber used and any other component used. | <Device>: information on the device and the overall appartus <Manufacturer> / <Model> <SpectrometerClass>: e.g. dispersive (spectrograph with gratings/prisms) or FT (Fourier Transform) within the interferometer. <Description>: information describing the main characteristics of the device and the overall appartus | The equipment specifications of the instrument and the overall apparatus are documented such as type of equipment, manufacturing company, anode (Rh, Ro, Ag, Au, W etc.), XRF tube operational range parameters (Voltage, Current, acquisition time), optical system (camera) /objective lens used and any other component used
| <Grating type>: type of grating, such as holographically recorded diffraction grating (HRDG), classically ruled mechanical grating (CRMG); <Grating density>:line density of grating in dispersive Raman instrument. In format: lines per mm (lines/mm). | /
<DetectorType>; type of detector. (e.g. CCD (charge coupled device) or other (specify))
<SpectrometerManufacturer>;<Model>: the name of spectrometer manufacturer and model used to collect spectral data
<InstrumentOperationalSoftware;version;release>: name, version and release of the Instrument software used
Results | <TechniqueResult> Brief Description of the given specific type of results and included data
<TechniqueResult> Common Formats

## measurement - acquisition
step description | Metadata field/term | Case study / data set
Preprocessing (optional) | <MethodTesting>; <DeviceTesting>; <SpectrometerTesting>; <SetupTesting> Contains information on standard procedures on testing the setup preliminary to the measurements on the object; <Calibration> standards used to calibrate system (wavelength/intensity) <SampleCalibrationStandard> Contains information on the object or material used for the spectrometer testing | not appliable
| <PreprocessingSafeProtocol> contains information about the protocol applied to respect safe limits in the following mesasurements | /
Selection an annotation of Measurement Sites on a reference image of the object (Manual / (Semi) automatic (x,y,z referencing) / point or Area Use high resolution detailed reference images of the entire object or of the part under study (in case of a monument) to annotate the points of analysis. Issue: Wrong/ inaccurate indexing of measurement position on the object due to the low resolution of the reference image | <SpotInformation> the information about the spot that is going to be examined <PlacementwithintheObject> defines the exact location of the Measurement Site on the Object. <SpotPhoto> a characteristic macro-photograph of the detail in which the spot is annotated or a micro-photograph of the examined area <SurfaceDescription> a description of the spot before starting the examination, <PositionDescription> a description of the position of the spot within the object <Color> the main colour of the spot that is identified with naked eye before the examination | /
| <Representation> representation of the measurement Site in a photograph or drawing or <Map> the map of spots or map of areas that were examined during the specific examination <File> the image of the examined object where the examined areas or spots are annotated <Note> any comment related to the map of spots/areas | / / / /
Preliminary tests operated on the specimen / area under examination using a minimum radiation power to set the measurements conditions. The integration time / average of scans can be optimised as needed to obtain a good spectrum | <Preprocessing> Contains information about the preparation of the measurement | /
Acquire and store the difuse reflectance spectra taken on representative sites on the CH object. | <MeasurementEvent> Contains information about the measurement <MeasurementDate>: information about the date the measurement took place | /
| <SpotAnalysis> Contains all information about the examination of a specific spot | /
If it is a monitoring measurement it has to be described as it will contain an iteration process
Measurement-specific setup conditions The conditions for each measurement constitute essential metadata which are documented either in a text file for all the measurements or in form of metadata file for each spectrum file. ( related metadata) | <Settings> Contains all information about the settings of the device that is used for the measurement of the spedific spot | /
<Data collection type>: geometry of the employed experimental set-up
<ExcitationLightSource>: excitation source wavelength in nanometers (nm)
| <IrradiationPowerAtTheSample>: power incident on sample (not of source) | /
| <Filter>: optical filters or <Accessories> any accessories used | /
| <Reference material> for calibration purposes | spectralon
| <SpectralRange>: data collection range in wavelengths(nm) | 200–850 nm
| <SpectralResolution>: Resolution of spectrum as measured in wavelengths(nm) | 5 nm
| <Accumulations>: number of accumulations used (co-added) to produce spectrum. | 1
| <IntegrationTime>: integration (dwell) time in seconds (sec) | /
| <Digital Object Title> Contains the title of the digital object <Digital Object Type> Contains the type of the digital object, e.g. Raman Spectrum <Digital Rights>/<Owner> Contains the digital rights of the digital object | see comment
| <Digital File> or <SpectrumFile> Contains the digital file of the digital object <SpectrumFileType>: Native /Raw/Proprietry or non-Proprietary? <Digital FileStandard> Contains the type of standard Format of the digital file (e.g. spc; txt...) <Storage Location> Contains the storage location of the digital object | *.xga (proprietary) *.spt or *.mca or *.spx, *.spt or *.mca or *.spx (standard) | proprietary data file format including metadata, readable by the proprietary Elio-software
Post processing e.g. Straylight correction (dark substraction) Baseline correction - | <Postproccesing> contains information about the postprocessing procedure (e.g. dark substraction; baseline correction; cosmic ray removal:filtering of spectral artifacts (spikes/peaks) in Raman spectrum produced by cosmic rays rather than Raman emissions) <OtherDataPostProcessing>
In this step the band position and the relative intensity of the observed bands in the spectrum are identified and documented. | <Postproccesing> contains information about the the findings of the measurement based on the evaluation of the data | see comment
The accurate identification of pigments requires the comparison of the Raman peaks with those reported in databases of Raman spectra of interest for cultural heritage studies. Several databases are available that cover a wide range of materials, from pigments and minerals to organic media and plastics. (Possible source of error: Reference spectra acquired with a different wavelength laser source with respect to the experimental one, may have variation in relative intensity of band) | <MeasurementOutcomes> contains information about the outcomes of the measurement; it braks intο: <Spectrum> the spectrum that is the outcome of the measurement <PeakofSpectrum> the wavelength of the main peaks of the spectrum <QualityofSignal> the quality of the spectrum
<MeasurementResult> Contains information about the interpretation of the data (spectrum) obtained from each measurement
<CompoundAnalysis> Contains information about the attribution of spectral bands to specific compounds
| <Reference> Contains information about a reference used in <compoundAnalysis>, it breaks into: <ReferenceSpectrum> <ReferenceDatabaseName> or/and <LiteratureReference>: information on the bibliographic source from which a spectrum was took as reference <Database> Contains information about the database used as reference <DatabaseLink> Contains the url link to the Database <File> It contains the digital file of the bibliographic source | not appliable
| <MethodResult> Contains information about the outcomes of all measurements on all spots | /
Organize data and metadata in standard format for open access repositories. The metadata should incorporate descriptions of the equipment, instrumental setup and measurement conditions and information related to the artwork/monument. Finally, the (meta)data should follow the FAIR principles.
| <Digital File> or <SpectrumFile> Contains the digital file of the digital object <SpectrumFileType>: Native /Raw/Proprietry or non-Proprietary? <Digital FileStandard> Contains the type of standard Format of the digital file (e.g. spc; txt...) <Storage Location> Contains the storage location of the digital object | not appliable
Prepare a document that includes the objectives of the project/study, information on the artwork, technical /exprimental information, selection of representative data obtained, results and conclusions on the overall work. | <ExportReport> Offers to the editor the possibility to export at the local file system a report of the analytical process. The export file can be in PDF format. Reports include data from a number of predefined fields. In order to perform this action the editor should select the desired record from a list and then click to the action “Export report”. The editor can export a full report which means that data from all predefined fields of the record will be saved into a specific structure in the PDF file or a customized report by selecting which fields he/she wants to be included in the report.
Publish the results according to the licencing/IPR / reuse restrictions
Date / details of the measurement event
Person carrying out the measurement | <Involved PersonSkills> / <Involved PersonProfessionalProfile> | /
| <Involved Person> contains all information about the Person involved (<Appelation>; <Affiliation>, <Role>; <ContactInfo>) | /
Date | <Starting date> the day that the examination started, <Ending date> the day that the examination ended | /
Location | <Location> is the Location where the examination took place, in situ or ex situ | /